## RawFigures
| per run |  | runs | other runs | time manual | 36750 | seconds | 612.5 | minutes | 428.75 | pounds | staff costs
|  |  |  | 122 | time auto no fail | 1225 | seconds | 20.4167 | minutes | 14.2917 | pounds | 0.7
Time to check a run (and record results) | 150 | seconds | 123 |  | time auto just fail | 2947.9675 | seconds | 49.1328 | minutes | 34.393 | pounds
[5 empty] | time auto total | 4172.9675 | seconds | 69.5495 | minutes | 48.6846 | pounds
Time to check result of auto QC | 5 | seconds | 123 |  |  |  | time saving | 542.9505 | minutes
[8 empty] | 9.0492 | hours
Time to check failed run results | 40 | seconds | 37 | 36.6992
Caveats
Time to check a run estimated from time taken during the process of generation of the truth set.
Consideration of the de-multiplexing data excluded for simplicity as performance of those tests was weaker overall.
Consideration of costs of unnecessary analyses on failed samples has not been included as it is not known how many runs this applied to.